## Feuil1
Cluster | Name | ID | Value | Attribut / Command | Client / server
General info | Zigbee type |  | ZR
| ZCL version |  | 7
| Profile code |  | 0x0104
| Group table size |  | 0x1E
| Scene table size |  | 0x22
| Binding table size |  | 0x0A
0x0000 - Basic | ZCLVersion | 0x0000 | 0x02 | A | S
| ApplicationVersion | 0x0001 |  | A | S
| StackVersion | 0x0002 |  | A | S
| HWVersion | 0x0003 | 0x01 | A | S
| ManufacturerName | 0x0004 | “Legrand” | A | S
| ModelIdentifier | 0x0005 | Dimmer switch w/o neutral | A | S
| DateCode | 0x0006 |  | A | S
| PowerSource | 0x0007 | 0x01 | A | S
| GenericDeviceClass | 0x0008 | 0x00 | A | S
| GenericDeviceType | 0x0009 | 0x09 | A | S
| ProductCode | 0x000a | 0x00 | A | S
| ProductURL | 0x000b | "" | A | S
| SWBuildID | 0x4000 |  | A | S
| ClusterRevision | 0xfffd | 0x01 | A | C / S
| Reset to Factory Defaults | 0x00 |  | C | C / S
0x003 - Identify | ClusterRevision | 0xfffd | 0x01 | A | C / S
| IdentifyTime | 0x0000 |  | A | S
| Identify | 0x00 |  | C | S
| Identify Query | 0x01 |  | C | S
| TriggerEffect | 0x40 |  | C | S
| Identify Query Response | 0x00 |  | C | S
0x004 - Groups | NameSupport | 0x0000 | 0x00 | A | S
| ClusterRevision | 0xfffd | 0x01 | A | S
| Add group | 0x00 |  | C | S
| View group | 0x01 |  | C | S
| Get group membership | 0x02 |  | C | S
| Remove group | 0x03 |  | C | S
| Remove all groups | 0x04 |  | C | S
| Add group if identifying | 0x05 |  | C | S
| Add group response | 0x00 |  | C | S
| View group response | 0x01 |  | C | S
| Get group membership response | 0x02 |  | C | S
| Remove group response | 0x03 |  | C | S
0x005 - Scenes | SceneCount | 0x0000 |  | A | S
| CurrentScene | 0x0001 |  | A | S
| CurrentGroup | 0x0002 |  | A | S
| SceneValid | 0x0003 |  | A | S
| NameSupport | 0x0004 | 0x00 | A | S
| ClusterRevision | 0xfffd | 0x01 | A | S
| Add scene | 0x00 |  | C | S
| View scene | 0x01 |  | C | S
| Remove scene | 0x02 |  | C | S
| Remove all scenes | 0x03 |  | C | S
| Store scene | 0x04 |  | C | S
| Recall scene | 0x05 |  | C | S
| Get scene membership | 0x06 |  | C | S
| Enhanced add scene | 0x40 |  | C | S
| Enhanced view scene | 0x41 |  | C | S
| Copy scene | 0x42 |  | C | S
| Add scene response | 0x00 |  | C | S
| View scene response | 0x01 |  | C | S
| Remove scene response | 0x02 |  | C | S
| Remove all scenes response | 0x03 |  | C | S
| Store scene response | 0x04 |  | C | S
| Get scene membership response | 0x06 |  | C | S
| Enhanced add scene response | 0x40 |  | C | S
| Enhanced view scene response | 0x41 |  | C | S
| Copy scene response | 0x42 |  | C | S
0x006 - On-Off | OnOff | 0x0000 |  | A | S
| GlobalSceneControl | 0x4000 |  | A | S
| OnTime | 0x4001 |  | A | S
| OffWaitTime | 0x4002 |  | A | S
| StartUpOnOff | 0x4003 |  | A | S
| ClusterRevision | 0xfffd | 0x01 | A | C S
| Off | 0x00 |  | C | C S
| On | 0x01 |  | C | C S
| Toggle | 0x02 |  | C | C S
| Off with effect | 0x40 |  | C | S
| Off with recall global scene | 0x41 |  | C | S
| On with timed off | 0x42 |  | C | C : NLTS
0x008 - Level control | CurrentLevel | 0x0000 |  | A | S
| RemainingTime | 0x0001 |  | A | S
| MinLevel | 0x0002 |  | A | S
| MaxLevel | 0x0003 |  | A | S
| Options | 0x000f |  | A | S
| OnOffTransitionTime | 0x0010 |  | A | S
| OnLevel | 0x0011 |  | A | S
| OnTransitionTime | 0x0012 |  | A | S
| OffTransitionTime | 0x0013 |  | A | S
| DefaultMoveRate | 0x0014 |  | A | S
| StartUpCurrentLevel | 0x4000 |  | A | S
| ClusterRevision | 0xfffd | 0x01 | A | S
| Move to level | 0x00 |  | C | S
| Move | 0x01 |  | C | S
| Step | 0x02 |  | C | S
| Stop | 0x03 |  | C | S
| Move to level with On/Off | 0x04 |  | C | S
| Move with On/Off | 0x05 |  | C | S
| Step with On/Off | 0x06 |  | C | S
| Stop | 0x07 |  | C | S
0x019 - OTAU | UpgradeServerID | 0x0000 |  | A | C
| ImageUpgradeStatus | 0x0006 |  | A | C
| MinimumBlockPeriod | 0x0009 |  | A | C
| UpgradeActivationPolicy | 0x000b |  | A | C
| UpgradeTimeoutPolicy | 0x000c |  | A | C
| ClusterRevision | 0xfffd | 0x01 | A | C
| Image notify | 0x00 |  | C | C
| Query next image response | 0x02 |  | C | C
| Image block response | 0x05 |  | C | C
| Upgrade end response | 0x07 |  | C | C
| Query next image request | 0x01 |  | C | C
| Image block request | 0x03 |  | C | C
| Upgrade end request | 0x06 |  | C | C
0x00F - Binary input | OutOfService | 0x0051 |  | A | S
| PresentValue | 0x0055 |  | A | S
| StatusFlags | 0x006F |  | A | S
| ClusterRevision | 0xfffd | 0x01 | A | S
0x0301 - Ballast configuration | PhysicalMinLevel | 0x0000 |  | A | S
| PhysicalMaxLevel | 0x0001 |  | A | S
| MinLevel | 0x0010 |  | A | S
| MaxLevel | 0x0011 |  | A | S
| ClusterRevision | 0xfffd | 0x01 | A | S
0x0021 - Green power | gpsMaxSinkTableEntries | 0x0000 | 0x0A | A | S
| SinkTable | 0x0001 |  | A | S
| gpsCommunicationMode | 0x0002 | 0x01 | A | S
| gosCommissioningExitMode | 0x0003 | 0x02 | A | S
| gpsCommissioningWindow | 0x0004 | 0xb4 | A | S
| gpsSecurityLevel | 0x0005 | 0x06 | A | S
| gpsFunctionality | 0x0006 | 0x98E2F | A | S
| gpsActiveFunctionality | 0x0007 | 0xFFFFFF | A | S
| gppMaxProxyTableEntries | 0x0010 | 0x32 | A | C
| Proxy Table | 0x0011 |  | A | C
| gppFunctionality | 0x0016 | 0x9AC2F | A | C
| gppActiveFunctionality | 0x0017 | 0xFFFFFF | A | C
| gpSharedSecurityKeyType | 0x0020 |  | A | C S
| gpSharedSecurityKey | 0x0021 |  | A | C S
| gpLinkKey | 0x0022 | ZigbeeAlliance09 | A | C S
| Cluster revision | 0xfffd | 0x0002 | A | C S